| Student Group: Ranil Jayasundera, Ian Beith, Laszlo Zsidai, Radik Ixanov | Assignment 2 Group 3 |
| --- | --- |
| Date: 11 March 2006 # Due by: 23 April 2006 | Cascading Effect of Design Changes |
| Scope: |  |
| For the given design changes, explain the cascading effect (impact on other design features) resulting from each initial design change: - Discuss the impact of replacing fuel sheath material from zirconium to stainless steel. - In a two figure-of-eight CANDU heat transport system discuss the impact of using two primary pumps per steam generator instead of one. - In a CANDU reactor that is designed to operate with 3% quality, disucss the impact of changing to operating with subcooled water at the channel exit of about 2 C. - Discuss the impact of switching from direct cooling cycle of the turbine generator to cooling towers. Each student to take one design change at the above list, and prepare separate paper (one paper per student). Work in a group and exchange opinions and discussions on each of the design changes. At the paper submission date given below, be prepared as a group to discuss your design impact of each design change given to the group. Material to be used: - Course material |  |
| Deliverables: |  |
| - Paper (by April 23, 2006) |  |