UNENE Thermal-hydraulics course

McMaster University

Course Schedule

| Class Date/ Location | Class Topic | Lecturer Name | Lecture Time |
| --- | --- | --- | --- |
| March 11 ## UOIT - Whitby | - Course introduction: - Scope and schedule - Course requirements, assignments, tests | Nik Popov | 9:00 – 10:30 |
| March 11 ## UOIT - Whitby | - Design Requirements - Heat transfer considerations - Uranium fuel forms - Fuel sheath (cladding) materials - Reactor coolants - Neutron moderators - Moderator arrangements and HTS engineering considerations | Nik Popov | 10:30 – 12:30 |
| March 11 ## UOIT - Whitby | - Power reactor types and designs - CANDU - CANDU 6 - ACR-700 and ACR-1000 - LWRs - Process Design Evolution - Reactor HTS - Steam Generator - Reactor Core - Radiation Exposure - Recent design changes - History of CANDU Design | Nik Popov | 13:30 – 15:30 15:30 – 17:00 |
| March 11 ## UOIT - Whitby | - Assignments given to students | Nik Popov | 17:00 – 18:00 |
| March 12 ## UOIT - Whitby | - Heat Transport System Thermal-Hydraulics - Reactor Heat Balance - Steam Generator - Primary Side Flow - Secondary Side Flow - Approximate solution - Heat balance for CANDU 6 - Steam generator with preheater (analytical solution) - Steam generator with preheater (numerical solution) | Nik Popov | 9:00 – 12:00 |
| March 12 ## UOIT - Whitby | - Flow instabilities | Nik Popov | 13:00 – 14:00 |
| March 12 ## UOIT - Whitby | - Fuel-coolant heat transfer - General heat conduction equation - Heat transfer in radial direction - General thermal energy equation - Heat transfer in axial direction - Axial quality distribution | Nik Popov | 14:00 – 17:00 |
| March 25 ## UOIT - Whitby | - Reactor Thermodynamics - 1st and 2nd Laws - Work, Enthalpy, Energy Equation, Carnot Cycle, Entropy - Reactor power cycle - Efficiency Improvements - Complex Rankine cycle for CANDU | Nik Popov | 9:00 – 11:00 |
| March 25 ## UOIT - Whitby | - Two-Phase Flow Fundamentals and impact on the design process - Two-phase flow terminologies - Model assumptions - Flow patterns and transition - Boiling flow - Void fraction | Amad Abdul-Razzak | 11:00 – 13:00 |
| March 25 ## UOIT - Whitby | - Critical Heat Flux - CHF terminologies - CHF mechanisms - Experimental techniques - Prediction methods - Applications for design and safety analyses - Post dryout heat transfer - Introduction - Transition boiling - Film boiling - Drypatch spreading | Amad Abdul-Razzak | 14:00 – 15:30 15:30 – 17:00 |
| March 26 ## UOIT - Whitby | - Pressure drop - Background - Conservation equations - Single-phase pressure gradient - Onset of significant void - Two-phase pressure gradient | ###### Amad Abdul-Razzak | 9:00 – 10:00 |
| March 26 ## UOIT - Whitby | - Basic equations for t-h analysis | Nik Popov | 10:00 – 12:00 |
| March 26 ## UOIT - Whitby | - Equation of state | Nik Popov | 13:00 – 15:00 |
| March 26 ## UOIT - Whitby | - Nodalization | Nik Popov | 15:00 – 17:00 |
| April 8 ## UOIT - Whitby | - The rate form of equation of state | ##### Nik Popov | 9:00 – 11:00 |
| April 8 ## UOIT - Whitby | - Student discussions - preparations | ##### Students | 11:00 – 12:00 |
| April 8 ## UOIT - Whitby | - Assignments - student presentations | Students | 13:00 – 17:00 |
| ##### April 9 ## UOIT - Whitby | - Thermal-hydraulic network calculations | Nik Popov | 9:00 – 10:30 |
| ##### April 9 ## UOIT - Whitby | - Review of computer programs (CATHENA) | Nik Popov | 10:30 – 12:00 |
| ##### April 9 ## UOIT - Whitby | - Review of computer programs (CATHENA) | Nik Popov | 13:00 – 16:00 |
| ##### April 9 ## UOIT - Whitby | - Preparation for the test | Nik Popov | 16:00 – 17:00 |
| ##### April 22 ## UOIT - Whitby | - Final test - Submission of assignment papers | Students | 9:00 – 12:00 13:00 – 17:00 |
| ##### April 23 ## UOIT - Whitby | - Final test (alternate) - Submission of assignment papers (alternate) | Students | 9:00 – 12:00 13:00 – 17:00 |